## Overview
About this tool:
This tool allows you to compare different energy baseline efficiencies quickly and easily.
You can use this tool to compare two homes/buildings in two different states with two different energy baselines.
Use the HERS score, SF and Low Rise tab to calculate your home's HERS score and to also know the HERS score of a particular baseline.
You can also use this tab to compare two different baseline efficiencies for SF and Low rise buildings.
Use the Mid and High Rise tab to compare two different baseline efficiencies for Mid and High Rise buildings.
How to use this tool:
HERS Score calculator for SF and Low rise:
1. Select your Baseline
2. Enter your home's % energy efficiency with reference to your baseline
3. IMPORTANT: Please do not change/alter any cells other than "green" highlighted cells
Baseline efficiency comparison tool:
1. Select your first baseline you want to compare
2. Select your second baseline you want to compare
3. IMPORTANT: Please do not change/alter any cells other than "green" highlighted cells
References:
Low Rise buildings: | https://www.homeinnovation.com/-/media/Files/Certification/Green_Building/2020-Energy-Comparison-homes-low.pdf
Mid and High Rise buildings: |  | https://www.homeinnovation.com/-/media/Files/Certification/Green_Building/2020-Energy-Comparison-mid-high.pdf

## HERS score, SF and Low Rise
HERS Score Calculator from Baseline (For SF and Low Rise buildings Only)
Select your baseline: | IECC 2006
Baseline HERS score is: | 100
Enter home's % above baseline: | 25
Your home's HERS score is: | 75
Baseline Efficiency Comparison Tool (For SF and Low Rise Only)
% better than IECC 2006
What? | IECC 2006 | 0 | IECC 2006 | is better by | 0 | %
Against what? | IECC 2006 | 0
[7 empty] | Baseline | % better than IECC 2009 | % better than IECC 2006 | HERS Score
[7 empty] | IECC 2006 | 0 | 0 | 100
[7 empty] | IECC 2009 | 0 | 13.9 | 86.1
[7 empty] | LEED v4 Homes | 10 | 23.9 | 76.1
[7 empty] | ESCH 3.0 | 10 | 23.9 | 76.1
[7 empty] | IECC 2012 | 23.9 | 37.8 | 62.2
[7 empty] | IECC 2015 | 24.6 | 38.5 | 61.5
[7 empty] | IECC 2018 | 26.3 | 40.2 | 59.8
[7 empty] | Florida Code 2017 | 24.6 | 38.5 | 61.5
[7 empty] | NGBS 2015 Bronze | 24.6 | 38.5 | 61.5
[7 empty] | NGBS 2020 Bronze | 26.3 | 40.2 | 59.8
[7 empty] | NGBS 2015 Silver | 32.1 | 46 | 54
[7 empty] | NGBS 2020 Silver | 33.8 | 47.7 | 52.3
[7 empty] | ESCH 3.1 | 33.8 | 47.7 | 52.3
[7 empty] | NGBS 2020 SF Cert | 33.8 | 47.7 | 52.3
[7 empty] | NGBS 2015 Gold | 39.6 | 53.5 | 46.5
[7 empty] | NGBS 2020 Gold | 41.3 | 55.2 | 44.8
[7 empty] | NGBS 2015 Emerald | 44.6 | 58.5 | 41.5
[7 empty] | NGBS 2020 Emerald | 46.3 | 60.2 | 39.8
[7 empty] | CA Title 24 2016 | 53.6 | 67.5 | 32.5
[7 empty] | CA Title 24 2019 w/o PV mandate | 60.6 | 74.5 | 25.5

## Mid and High Rise
Baseline Efficiency Comparison Tool (For Mid and High Rise buildings Only)
% better than ASHRAE 90.1 2006
What? | ASHRAE 90.1 2004 | 0 | ASHRAE 90.1 2004 | is better by | 0 | %
Against what? | ASHRAE 90.1 2004 | 0
[7 empty] | Sr No | Baseline | % better than ASHRAE 90.1 2004
[7 empty] | 1 | ASHRAE 90.1 2004 | 0
[7 empty] | 2 | ASHRAE 90.1 2007 | 4.3
[7 empty] | 3 | IECC 2009 | 8.6
[7 empty] | 4 | ASHRAE 90.1 2010 | 12.2
[7 empty] | 5 | IECC 2012 | 15.1
[7 empty] | 6 | IECC 2015 | 17.3
[7 empty] | 7 | FLORIDA CODE 2017 | 17.3
[7 empty] | 8 | NGBS 2015 BRONZE | 17.3
[7 empty] | 9 | ASHRAE 90.1 2013 | 19.2
[7 empty] | 10 | LEED NC V4 | 19.2
[7 empty] | 11 | IECC 2018 | 20.7
[7 empty] | 12 | ASHRAE 90.1 2016 | 23.8
[7 empty] | 13 | NGBS 2015 SILVER | 24.8
[7 empty] | 14 | NGBS 2020 BRONZE | 20.7
[7 empty] | 16 | NGBS 2020 SILVER | 28.2
[7 empty] | 17 | NGBS 2015 GOLD | 32.3
[7 empty] | 18 | NGBS 2020 GOLD | 35.7
[7 empty] | 19 | CA TITLE 24 2016 | 50.5
[7 empty] | 20 | NGBS 2015 EMERALD | 37.3
[7 empty] | 21 | NGBS 2020 EMERALD | 40.7
[7 empty] | 22 | CA TITLE 24 2019 | 80.5

## References & Comparsion Charts
CLICK FOR LINK | CLICK FOR LINK